## Slide 1: The GlueX Experiment
Curtis A. Meyer
Carnegie Mellon University

## Slide 2: The GlueX Collaboration
Carnegie Mellon, Catholic University, Christopher Newport,
Florida International, Florida State, Glasgow, Indiana University,
IUCF, Jefferson Lab, Langzou University, University of Connecticut,
University of Alberta, University of Athens, University of
Pennsylvania, University of Regina, Yerevan
Several other institutions are in discussion to join GlueX and we
welcome new participants.

## Slide 3: Outline
The Physics of GlueX
The Jefferson Lab Upgrade
The GlueX Detector

## Slide 4: QCD Potential
linear potential
ground-state
flux-tube
m=0
The normal mesons are built up from a “quark-antiquark
pair” with and a “ground-state” flux tube.
(¼,K,´,´0 )
(½,K*,!,Á, Á)
(b1,K1,h1,h10)
(  )
JPC=0-+
JPC=1--
JPC=1+-
0++,1++,2++,2--,2-+,3++,3- -,3+ -
Lattice QCD

## Slide 5
linear potential
ground-state
flux-tube
m=0
excited flux-tube
m=1
Gluonic Excitations provide an
experimental measurement of
the excited QCD potential.
Many of the hybrid nonets have exotic quantum numbers.
S=0,L=0,m=1
J=1 CP=+
JPC=1++,1--
(not exotic)
S=1,L=0,m=1
J=1 CP=-
JPC=0-+,0+-
1-+,1+-
2-+,2+-
exotic
Lattice QCD
QCD Potential

## Slide 6
Hybrid Predictions
Flux-tube model: 8 degenerate nonets
1++,1-- 0-+,0+-,1-+,1+-,2-+,2+- ~1.9 GeV/c2
Lattice calculations --- 1-+ nonet is the lightest
UKQCD (97) 1.87 0.20
MILC (97) 1.97 0.30
MILC (99) 2.11 0.10
Lacock(99) 1.90 0.20
Mei(02) 2.01 0.10
Bernard(04) 1.792§0.139
In the charmonium sector:
1-+ 4.39 0.08
0+- 4.61 0.11
Splitting = 0.20
1-+ 1.9§ 0.2
2+- 2.0§ 0.11
0+- 2.3§ 0.6
S=0
S=1
All masses in GeV/c2

## Slide 7
The angular momentum in the flux
tube stays in one of the daughter
mesons (an (L=1) and (L=0) meson).
1 b1 , f1 ,  , a1
1(1300) , a1
b2  a1 , h1, a2
h2  b1 , 
b0  (1300) , h1
h0  b1 , h1
Lflux
Lflux
Exotic Quantum Number Hybrids
Mass and model
dependent
predictions
Hybrid Decays
Populate final states with
¼§,¼0,K§,´ (°)
¼¼¼ , ¼¼¼¼ , ¼¼¼´ , ¼¼¼¼´
(p,n) +
Final States (in GlueX)
70% involve at least 1 ¼±
50% involve more than 1 po

## Slide 8
Photoproduction
More likely to find exotic hybrid mesons using beams of photons
Photon behaves like a spin-1 meson (½ ! Á )
¼ and K beams are spin-0
Virtually no photo-production data at 8-9 GeV
(literally a few thousand events)
Theoretically we expect some hybrid production
cross sections similar to normal mesons
No photo-production data with multiple ¼±
A high-statistics experiment with performance
similar to other successful spectroscopy
experiments can make a big impact.
GlueX will collect ~4-5 orders of magnitude
more data than existing photon experiments
and we will by exceed the highest statistics
experiments by 1-2 orders of magnitude.

## Slide 9
GlueX Here
A
B
C
Jefferson Lab
Accelerator
Newport News
VA

## Slide 10
CHL-2
Upgrade magnets and power supplies
JLab Upgrade

## Slide 11: The Jefferson Lab Upgrade
The JLab upgrade is a ~$300,000,000 project within the Department of Energy to double the energy of the CEBAF machine to 12 GeV.
Equipment in Halls B (CLAS 12) and C (new spectrometers) will be upgraded.
A new, photon-only experimental Hall, D, will be built and the GlueX experiment will be installed.

## Slide 12: Milestones
Progress towards construction is tracked by Critical Decisions, CD0 … CD4.
April 2004, CD0 --- Conecptual
February 2006, CD1 --- R&D
November 2007, CD2 --- Project Engineering
September 2008, CD3 --- Start of construction.
Fall 2015, CD4 --- Start of operations
Currently awaiting the passing of a budget by the
U.S. Congress.

## Slide 13: Linearly Polarized Photon Beam
scattered electrons
20 mm
Diamond
Electron
beam
Photon
beam
Vacuum
chamber
linear polarization
determined by crystal orientation
not affected by electron polarization
vanishes at end-point
75 m
Electron beam
Detector
Collimator
Photon
Dump
Hodoscope
Microscope
Tagger Magnet:
  1 Dipoles 1.5T
  Main beam deflection 13.4° Analyze E=8.5-9GeV
  30 mm pole gap, 3m long, and 38 metric tons ea.
Vacuum chamber:
  12 meters long integrated into magnet
  Thin exit window

## Slide 14: Linearly Polarized Photon Beam
4
nominal
tagging
interval
Photon Beam Intensity Spectrum
Design goal is to build an experiment with ultimate rate capability as high as 108 g/s on target.
Rates based on:
12 GeV endpoint
20 mm diamond crystal
300 nA electron beam
diamond – collimator: 76m
collimator diameter: 3.5 mm
Leads to 107 g/s on target
(after the collimator)
photon energy (GeV)
tagged
0.1% resolution
UCONN, CUA, Glasgow, JLab, Yerevan

## Slide 15: The GlueX Detector in Hall D
North Wall
Solenoid
Overhead crane
AC ducts
Upstream platform
Collimator alcove
Photon dump
Truck ramp entrance
Cryogenics platform
Electronics racks
Cable trays
Beam
Penetrations for gas lines

## Slide 16: The GlueX Detector
Linearly polarized photons
Initial rate: 107° /s
tagged 8.4-9 GeV (to .1%)
Up to: 108 ° /s
~2.25 T solenoid magnet
(refurbished and updated
LASS/MEGA magnet).
Pb Glass Calorimeter
(glass from BNL E852)
Plastic scintillator
time-of-flight wall
Pb scintillator sandwich
calorimeter inside the
solenoid. Also measure
TOF of charged particles.
Planar cathode drift
chambers
Central straw
tube drift chamber
Scintillator
start counter
30-cm long LH2 target

## Slide 17: Tracking: Startcounter
Photon
Beam
Setup
  40 scintillators
  10mm x 500mm, bended with 35o towards beam
  acceptance 3o to 134o st= 0.5ns
Readout:
  single sided in high magnetic field
  SiPMs or Hamamatsu R5924-70
Electronics:
  energy measurement: 250 MHz FADCs (16ch)
  timing measurement: CFD (16ch) & 62ps F1-TDC (32ch)
Florida International

## Slide 18: Tracking: Central Drift Chamber
Stereo straws
Support tube
Outer skin (forms stiff tube)
Upstream gas plenum cap
Upstream end plate (Φ 119.5cm)
Downstream end plate
Inner skin
180cm
Endplates, tubes and skin form stiff structure!
Carnegie Mellon University, UPENN, JLab, IUCF

## Slide 19: Tracking: Central Drift Chamber
Setup:
  straw tube tracker
  3098 straws (r: 0.8 cm; 100 mm Kapton 5 mm Al)
  radius: inner-10cm outer-58cm length-1.5m
  4 layers +6o; 4 layers -6o; 16 radial layers
Readout / Electronics:
  preamp cards the same as for FDC based on ASIC
  energy/timing measurement: 125 MHz FADCs (72ch)
HV
  24 straws / HV channel (130 HV channels)
Carnegie Mellon University, UPENN, JLab, IUCF

## Slide 20: Tracking: Central Drift Chamber
Cosmic Track
Cylindrical Drift Chamber
dE/dx for p < 450 MeV/c
Gas mixture: 87/13 Ar/CO2
Angular Coverage: 6o-155o
Resolution:
r ~ 150 m, z~1.5 mm
Status:
full scale prototype with
16 staws fully instrumented

## Slide 21: Tracking: Forward Drift Chamber
4 packages
Connecting tubes
Outer skin
Cables
Assy tooling
Forward Drift Chamber
Resolution: 200 m
Gas Mixture: 40:60 Ar/CO2
Angular Coverage: 1o – 30o
cathode-wire-cathode strong
suppression of hit ambiguities
Status:
small scale prototype existing
full scale prototype underway

## Slide 22: Forward Drift Chamber
Setup:
  cathode strip chamber
  4 packages;
  ground- cathode(24)-wire(24)-spacer(24)-cathode(24)
  96 sense + 97 field wires & 216 cathode strips
    total: 12672 channels
  wires; u-v strips +/- 75o to wires
  diameter: 1.2m
Readout / Electronics:
  Preamp. boards based on ASIC
  cathodes: 125 MHz FADCs (72 ch)  144 modules
  anodes: 125ps F1-TDC (48 ch)  48 modules
HV
  384 channels
JLab, UPENN, IUCF

## Slide 23: The Barrel Calorimeter
48 modules (phi sectors)
E/E=5.54%/E  1.5%
PMT Base
Magnetic
Shielding
Mounting Brkt
PMT Frame
Si cookie
Light Guide
Wedges
24 SiPM’s on each
end of each wedge
Winston Cones Glued
to each end of
fiber/lead matrix

## Slide 24: The Barrel Calorimeter
48 Modules:
  191 layers of 0.5 mm Pb and 1 mm SciFi and Glue (37:49:14)
  Sampling fraction: 0.125
  inner radius 65 cm; outer radius: 90 cm; length 3.9m
  X0 = 1.45cm  15.5 X0
Readout:
  in high magnetic field
  double sided
  inner part: 48x2x24 SiPMTs (2304 ch)
  outer part: 48x2x4 XP2262 PMTs (384 ch)
Electronics:
  photon energy measurement: 250 MHz FADCs (16 ch)
  charged particle TOF inner BCal: F1-TDC (62ps) (32 ch)
HV / LV
  inner: 16 SiPMT / LV channel
  outer: 1 PMT / HV channel
Regina, Alberta, Athens, JLab

## Slide 25: The Forward Calorimeter
Magnetic
Shield tube
PMT x2800
Downstream Plate
Fill empty space with epoxy after assy for stiffness
Forward Calorimeter (LGD)
Status:
improved light coupling compared to RadPhi
/E=7.3%/E 3.5%
sx,y ~ 0.64 cm/√E
g-energy threshold: 60MeV
Used in E852@BNL
& RadPhii @ JLab
2800 Pb-glass blocks (4cmx4cmx45cm)
Read out using 250MHz FADC (16-chan.)
Indiana University

## Slide 26: The Forward Calorimeter
As used in E852 at BNL

## Slide 27: Time-of-Flight
Detail of guide, pmt
and HV divider
252 cm
PMT’s
Scintillator bars
12 cm square opening
Split paddles
TOF Scintillator Wall
Status:
time resolution / plane: 80ps
diff (ns)
nominal

## Slide 28: Time-of-Flight
Setup
  2 layers each with 42 scintillator bars (x –y)
  6cm x 2.54cm x 252cm
Readout:
  double sided readout
  XP2020 PMTs
Electronics:
  energy measurement: 250 MHz FADCs (16ch)
  timing measurement: CDF (16ch) & 62ps F1-TDC (32ch)
HV
  168 channels
Florida State

## Slide 29
Capability | Quantity | Range
Charged particles | Coverage | 1o < q < 160o
 | Momentum Resolution (5o-140o) | sp/p = 1 − 3%
 | Position resolution | s ~ 150-200 mm
 | dE/dx measurements | 20 < q < 160o
 | Time-of-flight measurements | sToF ~ 60 ps; sBCal ~ 200ps
 | Barrel time resolution | st g < (74 /√E 33) ps
Photon detection | Energy measurements | 2 < q < 120o
 | LGD energy resolution (E > 60 MeV) | sE/E = (7.3/√E 3.5)%
 | Barrel energy resolution (E > 40 MeV) | sE/E =(5.54/√E 1.6)%
 | LGD position resolution | sx,y, ~ 0. 64 cm/√E
 | Barrel position resolution | sz ~ 0.5cm /√E
DAQ/trigger | Level 1 | < 200 kHz
 | Level 3 event rate to tape | ~ 15 kHz
 | Data rate | 300 MB/s
Electronics | Fully pipelined | 250 / 125 MHz fADCs, TDCs
Photon Flux | Initial: 107 g/s | Final: 108 g/s
GlueX Design Parameters

## Slide 30: Physics in GlueX
We have designed a detector with high acceptance and efficiency for charged and neutral particles.
Will be able to concurrently analyze different final states for the same hybrid states---both isospin related and different decay modes.
We will not only be able to map out the spectrum of exotic states, but also make statements about relative decay rates.

## Slide 31: Summary
We expect to start taking data in late 2014.
The GlueX detector in Hall D at Jefferson Lab has been designed to fully reconstruct final states with charged particles and photons.
Very high statistics data sets collected with 9GeV linearly polarized photons will open a new window on the study of light-quark exotic hybrids.
We welcome new participants in GlueX.
Our RICH detector as part of PID needs a family.